## Sheet1
Bar-Mol relationship before entry
Pv=nRT
R. L atm k-1 mol-1 | 0.082057 | T, kelvin | 300.85
v, litres | 9 | bar to atm | 0.98692
P (in bar) | P (in atm) | n (in mol)
300 | 296.0769 | 107.9393
295 | 291.1423 | 106.1403
290 | 286.2077 | 104.3413
285 | 281.2731 | 102.5423
280 | 276.3384 | 100.7433
275 | 271.4038 | 98.9444
270 | 266.4692 | 97.1454
265 | 261.5346 | 95.3464
260 | 256.6 | 93.5474
Full graph on sheet 2
Egress value in terms of mol
According to NFPA, safety margin is 25% of the tank:
100% | 75% | 33% | 25%
300 | 225 | 100 | 75 | bar
107.9393 | 80.9545 | 35.9798 | 26.9848 | mol
We will calculate the estimated time to safety margin or 15 minutes which ever is longer
Things App displays: |  |  |  | Calculations
Estimated current Bar value |  |  |  | Initial Bar-Mol value. Count down mol of air consumed per unit time. Sum up all and subtract from initial Mol to find remaining Mol. Put Mol back in graph to find Est Bar
Estimated time to safety margin |  |  |  | Find Avg ROC of Air, use that to find time till safety margin is reached
Estimated time to no air |  |  |  | Find Avg ROC of Air, use that to find time till no air
Time Elapsed

## Sheet2
Bar - Mol Table
Pv=nRT
R. L atm k-1 mol-1 | 0.082057 | T, kelvin | 300.85
v, litres | 9 | bar to atm | 0.98692
P (in bar) | P (in atm) | n (in mol)
300 | 296.0769 | 107.9393
295 | 291.1423 | 106.1403
290 | 286.2077 | 104.3413
285 | 281.2731 | 102.5423
280 | 276.3384 | 100.7433
275 | 271.4038 | 98.9444
270 | 266.4692 | 97.1454
265 | 261.5346 | 95.3464
260 | 256.6 | 93.5474
255 | 251.6654 | 91.7484
250 | 246.7308 | 89.9494
245 | 241.7961 | 88.1504
240 | 236.8615 | 86.3514
235 | 231.9269 | 84.5525
230 | 226.9923 | 82.7535
225 | 222.0577 | 80.9545
220 | 217.1231 | 79.1555
215 | 212.1884 | 77.3565
210 | 207.2538 | 75.5575
205 | 202.3192 | 73.7585
200 | 197.3846 | 71.9595
195 | 192.45 | 70.1605
190 | 187.5154 | 68.3616
185 | 182.5808 | 66.5626
180 | 177.6461 | 64.7636
175 | 172.7115 | 62.9646
170 | 167.7769 | 61.1656
165 | 162.8423 | 59.3666
160 | 157.9077 | 57.5676
155 | 152.9731 | 55.7686
150 | 148.0385 | 53.9696
145 | 143.1038 | 52.1707
140 | 138.1692 | 50.3717
135 | 133.2346 | 48.5727
130 | 128.3 | 46.7737
125 | 123.3654 | 44.9747
120 | 118.4308 | 43.1757
115 | 113.4961 | 41.3767
110 | 108.5615 | 39.5777
105 | 103.6269 | 37.7788
100 | 98.6923 | 35.9798
95 | 93.7577 | 34.1808
90 | 88.8231 | 32.3818
85 | 83.8885 | 30.5828
80 | 78.9538 | 28.7838
75 | 74.0192 | 26.9848
70 | 69.0846 | 25.1858
65 | 64.15 | 23.3868
60 | 59.2154 | 21.5879
55 | 54.2808 | 19.7889
50 | 49.3462 | 17.9899
45 | 44.4115 | 16.1909
40 | 39.4769 | 14.3919
35 | 34.5423 | 12.5929
30 | 29.6077 | 10.7939
25 | 24.6731 | 8.9949
20 | 19.7385 | 7.196
15 | 14.8038 | 5.397
10 | 9.8692 | 3.598
5 | 4.9346 | 1.799
0 | 0 | 0